NOTES ON DATA REDUCTION

J. A. Rupley, Tucson, Arizona

INTRODUCTION:

In order to derive conclusions from quantitative measurements, there

must be some form of data reduction.  This can be as simple as a

comparison by eye of two curves drawn through the data.  If, however,

the data set is large and complex, for example with more than one

independent variable, and if the questions posed are detailed or involve

a complicated nonlinear model, then visual or graphical methods are less

satisfactory than a computer-based analysis.  The latter is now widely used.

The intent of this short introduction is to show that a sophisticated

computer program can be handled easily, that its use saves time and

effort, that it can treat a more complicated model than can be handled

graphically, and that it provides information such as estimates of

uncertainties in the parameters that is difficult or impossible to

obtain from graphical methods.

These comments, although general, are addressed to the solution of a

particular problem, an analysis of enzyme kinetic data.  These are

initial rate measurements made on the lactate-dehydrogenase-catalyzed

reaction of pyruvate with NADH, in the presence and absence of lactate

as inhibitor.  The results of the computer fit are the following:  (1)

values of the kinetic constants V, KmA, KmB, KmAB, KmQ/KmPQ, and

KBInhib.  The defining equation is given below.  The first five

constants are those that can be evaluated by the standard graphical

methods of primary and secondary reciprocal plots, as described in

introductory textbooks.  The constant KBInhib is the dissociation

constant for the dead-end complex LDH-NADH-lactate, which is included in

the mechanism fit by the computer program but cannot be included in a

mechanism on which the graphical methods are based.  (2) Estimates of

the standard deviations of the kinetic constants.  These are needed for

an understanding of the reliability and significance of the values

calculated for the kinetic constants.  (3) A list of the coordinates of

points suitable for construction of the lines of the reciprocal plots of

the standard graphical methods.

REMARKS ON FITTING OF A MODEL TO DATA

In a typical data reduction, a particular model to be tested is fit to

a set of data points under some criterion for best-fit.  The ith data

point of a set of N data points consists of a single value for the

dependent variable, Yobserved(i), measured for corresponding single

values for the one or more independent variables, Xobserved(i).  The

commonly-used least squares criterion for quality of fit is the minimum

value of the weighted sum of the squares of the deviations between the

observed values of Y and the values of Y calculated according to the

model.

Working from the model to be fit to the data, one develops an equation

relating the dependent variable Y to the independent variables X and to

a set of M variable parameters p, for each of the N data points.  For the

ith data point:

Ymodel(i) = F(Xobserved(i); p(j), j=1,M)        eq. 1

If the model predicts a linear relationship between Y and a single

independent variable X :

Ymodel(i) = p(1) + p(2) * Xobserved(i)          eq. 2

The constants p(1) and p(2) of equation (2) are the Y-axis intercept and

the slope, respectively, and of course are the same for all data points

(for all pairs of values Y(i) and X(i)).

Fitting of a model to data consists of finding the values of the M

variable parameters p that give best agreement between the N pairs

of values of Ymodel(i) and Yobserved(i).  Best agreement can be defined

as the minimum value of the least squares function y:

N

y = SUM (Yobserved(i) - Ymodel(i))^2 * W(i)     eq. 3

i=1

The factor W(i) of equation (3) is the normalized reciprocal variance

(the statistical weighting) of the ith data point, and it can be set at

unity if the data points are all of equal estimated uncertainty.

Combining equations (1) and (3), one sees that the least squares

function y of equation (3) is a function of the full set of N data

points and a set of M variable parameters:

y = f(Yobserved(i), Xobserved(i), i=1,N; p(j), j=1,M)   eq. 4

The fitting problem therefore consists of finding the minimum value of

the least squares function y.  For a given set of data, y depends only

on the M variable parameters p (the data points Yobserved(i) --

Xobserved(i) in equation (4) are constant in the fitting).  There are

several methods commonly used to find the minimum of y and thus evaluate

the best-fit values of the parameters p. The more useful of these can

handle nonlinear model functions F (equation (1)) of essentially arbitrary

mathematical form.  The rate law for lactate dehydrogenase, given below,

is an example of a nonlinear model function.

In the simplex method used for solving the fitting problem, one

constructs an M dimensional polyhedron with M + 1 vertices (the

simplex).  Each dimension of the simplex corresponds to a variable

parameter of equation (4).  Each vertex of the simplex is a point in the

M dimensional space, which is called "parameter space" or "factor

space." The M coordinates of each vertex are values of the M parameters.

Thus each vertex of the simplex has an associated value of the least

squares function y. The starting simplex is constructed to be so large

as to include within it the point corresponding to the minimum value of

y. This minimum point has as its coordinates the best-fit values of

the parameters.

The minimization process shrinks the simplex about the minimum point,

even though the coordinates of the minimum are not known beforehand,

until the vertices of the simplex are so close together and so nearly

equal that an exit test is satisfied.  The exit test is set so that a

desired level of accuracy is obtained.  The values of the M parameters

averaged over all the vertices, i.e., the parameter values for the centroid

of the simplex, serve as reliable estimates of the best-fit parameter

values (those for the least squares function minimum), because the

minimum point is known to be inside the shrunken simplex and thus near

the centroid.

We generally want to estimate the uncertainties in the parameter values

obtained for a model fit to a particular set of data points.  To this end,

one calculates standard deviations of the parameters.

There are likely to be large uncertainties in the parameters if there

are few data points or if there are large deviations between Ymodel and

Yobserved.  As a rule, one should have 5 to 10 times as many data points

as parameters.

The first try at estimating uncertainties of the parameters can fail.

The calculation involves matrix inversion, the use of differences

between nearly equal large numbers, and the approximation of a complex

surface by a simple quadratic function.  It may be necessary to change

certain test values and then to repeat the calculation of the standard

deviations.  In particular, if a parameter is close to a bound, so that

expansion of the simplex in that dimension is not possible, then that

parameter should be fixed in the quadratic fit.

All fitting methods can fail.  We will not discuss problems with

bounds, local minima, ill-behaved functions, poor quality data,

physically unreasonable best fits, etc.  References given below should be

read for more complete discussions of the fitting problem.

For additional discussion of fitting by use of the simplex

method, see "Notes on the fitting program", and the article by

Nelder and Mead (1965).

THE FUNCTION FIT TO THE DATA

The function to be fit to data obtained in steady-state kinetic

experiments with lactate dehydrogenase is for an ordered ternary-complex

pathway with dead-end complexes (EAP and EQB):

EAP

|   KPInhib = ea * p/eap

|

----------EA-----------

k1 * a | k-1             k-2 | k2 * b

|                     |

|                     |

E               EAB <---> EPQ                 eq. 5

|                     |

|                     |

k4 | k-4 * q     k-3 * p | k3

----------EQ-----------

|

|   KBInhib = eq * b/eqb

EQB

where E is lactate dehydrogenase, A is NADH, B is pyruvate, P is

lactate, and Q is NAD.  Lower case letters denote reactant or product

concentrations.

This pathway is more complicated than the one without dead-end

complexes, which is the basis of the standard graphical methods of

analysis of two-substrate--two-product reactions:

-----------EA----------

|                     |

|                     |

E               EAB <---> EPQ                 eq. 6

|                     |

|                     |

-----------EQ----------

For the direction of reaction pyruvate reduction by NADH and the

product inhibitor lactate, the rate law for the pathway of equation

(5) is:

vo  =  V / [ 1  +  KmQ/KmPQ * p  +  KmA/a       eq. 7

+  KmB/b * (1 + KmQ/KmPQ * p) * (1 + 1/KPInhib * p)

+  KmAB/(a * b) * (1 + KmQ/KmPQ * p)

+  k3/(k3 + k4) * 1/KBInhib * b ]

The presence in the pathway of equation (5) of the dead end complexes

EAP and EQB leads to a significantly more complicated rate law than is

found for the simpler pathway of equation (6); compare equation (7) with

the following equation, for the "bare" compulsory order pathway without

dead-end complexes (the pathway of equation (6)):

vo  =  V / [ 1  +  KmQ/KmPQ * p  +  KmA/a       eq. 8

+  KmB/b * (1 + KmQ/KmPQ * p)

+  KmAB/(a * b) * (1 + KmQ/KmPQ * p) ]

Measurements of the initial rate, vo, made as a function of the

concentrations of NADH, pyruvate, and lactate are fit with equation (7),

by use of the program "ldhfit".  The parameters evaluated in the fitting

are those of equation (7) and are listed in Table I.

Several points should be noted regarding equations (7) and (8):  (1) The

last term of equation (7), containing the equilibrium constant KBInhib,

probably can be neglected under initial rate conditions with q=0; in the

fitting this is recognized by setting the last term at a small value,

1E-10, which eliminates it.  (2) With this change, equations (7) and (8)

are identical except for the appearance in one term of equation (7) of a

factor containing the equilibrium constant KPInhib, which is for

dissociation of the dead-end complex EAP defined in the pathway of

equation (5).

REFERENCES:

A simplex method for function minimization.

J.A. Nelder and R. Mead (1965. Computer J. 7, 308.

Digital computer user's handbook.

M. Klerer and G.A. Korn (1967). Mcgraw-Hill, New York.

Data analysis in biochemistry and biophysics.

M.E. Magar (1972). Academic, New York.

The solution of the general least squares problem with special

reference to high-speed computers.

R.H. Moore and R.K. Ziegler (1960). Los Alamos Scientific

Laboratory Report LA-2367.

TABLE I:

EQUATION (7)

FITTING                  RATE LAW

PARAMETERS               PARAMETERS

1                        V

2                        KmA  =  KmNADH

3                        KmB  =  KmPyruvate

4                        KmAB =  KmNADH-Pyruvate

5                        KmQ/KmPQ = KmNAD/KmLactate-NAD

6                        1/KPInhib = 1/KInhibLactate

7                        k3/(k3 + k4) * 1/KInhibPyruvate

parm(7) approx. equal to 0 at t=0

INDEPENDENT VARIABLES:

a = [NADH]     b = [Pyruvate]    p = [Lactate]    q = [NAD]

q = 0 at t=0

DEPENDENT VARIABLE:

vo = initial rate of conversion of pyruvate to lactate